## Slide 1: Translational Medicine Workshop
From Problem to Product Paradigm

## Slide 2: Product Development Panel
Vicki Farrar, esq – CEO Catheter Connections
Greg Jones, PhD – iVeena, Moran Eye Center
Bob Hitchcock, PhD – Utah Bioengineering

## Slide 3: Product Development Process
Develop IP
Concept
Target Market Needs
Manufacturable
Regulatory Strategy
Distribution & Partner Strategy
Pipeline
Testing Strategy
Quality System

## Slide 4: Product Development Example
Initial Concept
GOOD IDEA! – Rough prototype
No Business Plan
No Market Analysis
No traction
1 provisional application
No Engineering
No proof of concept
Not manufacturable
No advisors
One Year Later
Final Product Design
FDA Clearance
Business Plan & Market Analysis/Research
Industry and Investor Interest
9 US and 6 foreign applications
Engineering, bio & Antimicrobial testing complete
Pilot line & Automation in progress
Key Opinion Leaders/White papers

## Slide 5: User Concepts
Text

## Slide 6: Translating User Needs
Users
Designers
Engineers

## Slide 7: Brainstorming

## Slide 8: Prototyping
Modeling
SLA
Tooling
Repeatability

## Slide 9: Testing
Protocols
Data
Analysis

## Slide 10: Inspiration and Perspiration
None of my inventions came by accident. I see a worthwhile need to be met and I make trial after trial until it comes. What it boils down to is one per cent inspiration and ninety-nine per cent perspiration.
- Thomas Edison, 1929

## Slide 11: Perspiration
Low volume
High volume
Verification and validation
Regulatory
Intellectual Property
Prototyping

## Slide 12: Conclusion
Bring users in early
Take a holistic approach
Sweat the details

## Slide 13: Final Thoughts
Observe
Brainstorm
Create
Test
Fail
Learn